MONOGRAPH

V. V. Korobov

ACTIVE CONTROL OF THE WATER, WATER SOLUTION AND PROCESS LIQUID QUALITY IN THE INDUSTRY AND AGRICULTURE USING THE TECHNOLOGY OF NON-CONTACT IMPEDANCE AND RESONANCE CONTROL METHODS

| UDC 658.562 LBC 30.61 K68 Reviewers: Livschits David - Doctor of Technical Sciences, Chief Technologist of the company Turbulent Energy INC, Buffalo, USA; Murov Victor Mikhailovich - Doctor of Technical Sciences, Professor, Kaliningrad State Technical University. Korobov V.V. K68 Active control of the water, water solution and process liquid quality in the industry and agriculture using the technology of non-contact impedance and resonance control methods: monograph. - M.: Publishing House of the Academy of Natural Sciences, 2018. - 44 p. ISBN 978-5-91327-548-6 Various technologies are known to control the linear dimensions and measure the parameters and concentrations of various liquids and solutions in various industries, including the production of semiconductor devices, as well as in almost all industries and agriculture. When controlling liquids, there are specific conditions and features that are not inherent to solids. Such conditions and parameters include non-constant values of electrical conductivity, acidity and alkalinity as well as possible pulsations in the amount and composition of other substances dissolved in a liquid. Complex technology for solving such a problem relates to technical solutions aimed at modeling situations that allow remotely, without direct contact with the object of control, to assess the state of the object as a whole and the proportions and parameters of the state of the components of the material object, if it is multicomponent. ISBN 978-5-91327-548-6 © Korobov V.V., 2018 © PH “The Academy of Natural Sciences” © NPO “The Academy of Natural Sciences” | TABLE OF CONTENTS Brief and general information about the device and technology for monitoring water quality and water solutions for boilers, turbines and diesel generators, baths and water pools, air conditioning systems, air heating systems and heating systems and integrative equipment for water treatment and purification 5 Problems existing in the market for similar equipment 6 Preliminary analysis of the market of autonomous non-contact systems for control of the water and water solution quality 8 Variations of the non-contact control devices 22 The system to control milk aeration process with monitoring of milk air content in real-time mode 25 The resonance sensor use as a method to control the dairy farm herd state as of latent mastitis and mastitis with obvious signs 25 Preliminary studies of the resonance control technology sensitivity with milk as the controlled liquid 27 Application of the device for non-contact control of drinking water compliance with the standard requirements. Proposal of the control device integration variants into a standard water flow meters 32 Bibliography and list of patent applications 34 Annexes 35 |
| --- | --- |

3

| V. V. Korobov | Active control of the water, water solution and process liquid quality |
| --- | --- |
| Literally over the last year, the conditions and requirements for production processes in industry and in agriculture have changed fundamentally. These changes are caused by the new opportunities that have arisen due to innovative processes in all industries, as well as due to globalization processes and more intensive borrowing of the most efficient technical solutions from various technological areas. Thus, the concept of “smart manufacturing” and its real embodiment in many technological niches arose. According to the initiators of this initiative, smart manufacturing processes transform all industries. Water and water solutions are one of the most important components of many technological conversions and the work and application of water in any process that they want to turn into a smart technological process should include active monitoring of the quality of water and water solutions. It can be said with firm certainty that only with the introduction of active online monitoring of water parameters and water solutions in real-time, the production process using water and water solutions becomes “smart”. In this paper, the author offers readers some local technical solutions that contribute to the transfer of active contactless control technologies to the real production environment that has developed in the modern real manufacturing process with its features caused by the fact that, as a rule, any production structure includes technological equipment from different manufacturers and with different technical capabilities and characteristics. Before proceeding to the description of the control processes of various water parameters and water solutions, it is necessary to consider the options for applying the latest technologies of contactless control in conditions of various types and technical characteristics of equipment. Since water and aqueous technological solutions are usually supplied to technological tanks through linear flow meters, the first thing that determines the ability to combine the process of controlling other parameters with the process of controlling the flow of water or a viable solution is to integrate the sensor or group of sensors into the flow counter system. | Brief and general information about the device and technology for monitoring water quality and water solutions for boilers, turbines and diesel generators, baths and water pools, air conditioning systems, air heating systems and heating systems and integrative equipment for water treatment and purification Fig.1 Scheme of active shielding of the sensor module, eliminating the negative impact of electronic noise on the measurement accuracy and on the results of the comparative analysis of the measurement results A device for magnetic resonance monitoring of the quality of water or water solutions is a section of the pipeline on which an annular sensor is installed on the outer surface of the pipe and connected to the power supply and the control and amplification system, and signal identification. The system includes an optional transmitting device for transmitting the amplified and identified signal to the operator’s console or to a mobile phone. |

4	5

| V. V. Korobov | Active control of the water, water solution and process liquid quality |
| --- | --- |
| Fig. 2. Schematic diagram of the sensor module, including the screening system of the zone of impedance-resonance control and monitoring using a multi-layer system of the RHYTHM boards The principle of operation and functioning The system is adjusted on a reference sample of water, and taking into account all local conditions. The sensor of the system fixes any change in the water condition, the signal is identified and transmitted to the operator console, computer monitor or mobile phone. The frequency of control tests may vary with settings ranging from one test in 0.1 second to one test in 1 minute. Problems existing in the market for similar equipment As of the moment of supplying resonant control technologies, control with the help of traditionally accepted equipment has a group of significant drawbacks and problems: - time spent on water quality control per object is more than two working hours; - the cost of chemical reagents for one control is more than 630 rubles ($ 10); - the efficiency of bringing the results of the control does not allow to exclude the deposits of hardness salts in systems of objects of control; | - when controlled by traditional methods, the accuracy of the control is sharply reduced due to the presence of organic pollutants; - low responsiveness to control results leads to premature failure of expensive equipment; - despite the high level of costs for the organization and control of water quality, the effect of these costs is reduced from losses associated with the level of technological control problems with existing technology. Local problems in the control of water and aqueous solutions in companies - owners and companies serving office buildings and facilities: - to perform control operations based on existing technology, it requires specially trained qualified staff, the cost of working hours of which is more than 2000 rubles ($ 35); - staff can not perform more than one test per day and in the period between tests the state of the water is not monitored, which leads to emergency situations; - the time from the moment of detection of the problem to the elimination is increased due to the fact that there is no possibility of continuous monitoring of water quality; - the transfer of information is not operational, which also increases the time to resolve emergency situations. Advantages and achievements of the invented technology: - control is carried out 24 hours a day; - control is carried out in automatic mode and the control process does not require operator intervention; - information about the results of the monitoring in real time is transmitted to the service, which eliminates accidents, since decisions are made immediately when receiving the measurement results; - control results do not depend on the increase or decrease in the concentration of organic substances in controlled water; - due to the fact that the control is carried out without direct contact with water, there are no problems associated with corrosion or any other destructive factor; - the cost of maintenance of the control system consists solely of the depreciation of the cost of the control system, which is no more than 16,000 rubles ($ 250) per year; - the control system operates in an autonomous automatic mode and does not require any maintenance. |

6	7

| V. V. Korobov | Active control of the water, water solution and process liquid quality |
| --- | --- |
| Technical and economic parameters of the proposed technologies The main parameters of a sensor for resonance control of the water quality shall include accuracy and sensitivity. The main parameter of sensitivity shall provide for ability to differentiate, register and identify a difference equivalent to 0.000001 gram per liter. Preliminary analysis of the market of autonomous non-contact systems for control of the water and water solution quality The number of objects where control equipment based on the magnetic resonance principle can be installed may be presented as more than a million of complex facilities, each of which can have at least two measurement points. To analyze the scope for supply of resonance control systems, the configuration equipped with the signal transfer system by the existing communication channels, besides the system for control, identification and interpretation of the control signal nature is approved. This system cost shall be approximately 160,000 Russian rubles (2,500 US dollars). The cost of installation, guarantee and production-standard maintenance, periodic certifications, provision with the spare parts and engineering support while in operation shall be approximately 30-35% of the system cost that is 47,250 – 55,125 Russian rubles (750 – 875 US dollars). The supposed market volume is 2.5 billion US dollars according to this system cost. The supposed volume of the service market for complex control systems is 875,000,000 US dollars. The supposed total market volume on the abovementioned magnetic resonance control systems is 3,375 billion US dollars. This design solution allows, in its turn, to manufacture all the printed circuit boards of this module as RITM (capacitive preferential etching) boards with high operation speed specific to them. RITM technology as it is allows production of PCBs using the standard process equipment including all the production process operations as well as surface preparation lines, application of photoresistive cell, etching and application of chemical and electrochemical coatings. The conductor thickness can be within 25 microns with a total PCB thickness of 350 microns. | Fig. 3. 3D-model of the internal and external diameters of the sensor module body section showing the design principle of the module allowing its production as a set of double-sided printed circuit boards divided with dielectric plates, through which all the PCBs are connected with conducting pins Such parameters and design features provide for sharp decrease of the production cost keeping the high quality and optimal input characteristics. Fig. 4. 3D-model of the shielding system of the sensor module also consisting of a range of interconnected metal discs with the connection made by means of connecting pins spread across the whole diameter of the disc |

8	9

| V. V. Korobov | Active control of the water, water solution and process liquid quality |
| --- | --- |
| The pins are located on either side of the section in discs and such design provides for exceptional stability during the intensive resonance process as, in general, such system of interconnection between the shielding system elements forms the so-called resonance spring optimally compensating the oscillating processes occurred when the current pulse passes through the sensor module elements and resulting in appropriate resonance reaction to the pulses initiating the resonance phenomena. For successful introduction of the new technology, the facility, to which this technology should be adapted, is of extreme importance. The best thing is to introduce it at the series-produced facility that is already built into the existing systems of process equipment and the use of which is the pre-worked out operating process at all its stages complying with the requirements and restrictions of the effective standards including those on environmental protection. The facility that suits all the requirements most is a standard water flow meter. Fig. 5. Water flow meter with the in-built control module for monitoring of the additional parameters and characteristics of water and water solutions As the Figure above shows, within the standard flow meter an additional flow parallel to the main one is formed in ratio of 1 to 100. This flow is directed into the central opening of the control sensor, along the external cylinder diameter of which the solenoid coil is installed, and it registers such values as the difference in amplitude of the natural system oscillations and its changes in the resonance state. | As a rule, if the sensor is well shielded then by this value the difference in the amplitudes can be defined and it is a primary indicator of the changes, for instance in the salt concentrations that, in their turn, are indicative of the conductivity level as well as the dielectric permeability. The more reliable the shielding system is, the more accurate the measurements are, but this is just the start of this process as an intelligent component of the system starts analytical check and comparison of an equivalent of the value sought with the statistical values pre-set in the system using this value. The significance of integrating this intelligent monitoring and measuring system completely changes the nature of production process making it remote as the transfer of one signal does not quite a problem today. Fig. 6. 3D-model of the flow meter with the integrated sensor module The model presented in Fig. 6. shows an obvious possibility to modify the standard water flow meter by mounting an additional control module with the integrated impedance and resonance control system in its lower part. |

10	11

| V. V. Korobov | Active control of the water, water solution and process liquid quality |
| --- | --- |
| Fig. 7. 3D-model of the water flow meter with the integrated additional control module with specification of all the system components where: 2201 – a water pipeline; 2202 – an inlet pipeline of the water flow meter; 2204 – a water flow meter dial; 2206 – an outlet pipeline; 2207 – an additional control module body with the integrated impedance and resonance control system Fig. 8. Principal 3D-model showing the water flow system in the modified water flow meter | The flow system is characterized with the process when a small part of the flow is separated from the main flow and directed to the inlet of the sensor module and, as the model shows, the inlet to the measurement area of the sensor pipe is shaped in a special way in order not to create even minimal hydraulic resistance. Besides, the measurement area of the sensor pipe is located much lower than the main measured flow thus providing for complete filling of the measurement area of the pipe and essentially ensuring the control and optimal filling as well as absence of gas bubbles. Fig. 9. 3D-model showing the action principle of the conceptual system for the hydrodynamic arrangement of the modified water flow meter with the integrated sensor module for measurements of the other parameters of hydrodynamic characteristic of the measured liquid flow simultaneously with the water flow control At all the design and conceptual design stages a principal task of ensuring the minimal impact level of all the parameters and conditions of the complex parameter of the impedance and resonance sensor device amplitude on the actual measurement result was set. |

12	13

| V. V. Korobov | Active control of the water, water solution and process liquid quality |
| --- | --- |
| Numerous experiments clearly showed that when achieving the maximum measurement accuracy improvement of all the electronic components of the impedance and resonance process has obvious and conclusive limits, upon reaching of which it is impossible to increase the measurement accuracy. As the experiments showed, the solution to the task of increasing the measurement accuracy is in optimization of the parameters for hydrodynamics of the flow to be measured. Fig. 10. 3D-model showing the action principle of the conceptual system for the hydrodynamic arrangement of the modified water flow meter with the integrated sensor module for measurements of the other parameters of hydrodynamic characteristic of the measured liquid flow simultaneously with the water flow control As the model shows, the main task is to stabilize the hydrodynamics of the measured liquid flow in the measuring cylinder of the sensor module. First of all the flow is directed to the system communicating vessel located at the lower level of the system compared to the liquid inlet line to the measurement area and the liquid outlet line from the measurement area. This solution at once provided for complete filling of the control area with the controlled liquid and excluded formation of vacuum and bubbles in the liquid flow. | Fig. 11. 3D-model of the liquid flow within the combined module of the water (liquid) flow meter with the integrated sensor module for impedance and resonance control of the parameters and concentrations of the components in the same liquid where: 107 – a funnel-shaped globoid flow at the inlet to the measurement cylinder of module; 108 – a funnel-shaped globoid flow at the outlet from the measurement cylinder of module; 106 – a combined structure of the sensor module for impedance and resonance control including the measurement solenoid coil equipped with the shielding device; 201 – a measurement cylinder of module Fig. 12. 3D-model of the liquid flow within the combined module of the water (liquid) flow meter in its axial view with the integrated sensor module for impedance and resonance control of the parameters and concentrations of the components in the same liquid where: 101 – an inlet cylinder; 102 – an outlet cylinder; 106 – a combined structure of the sensor module for impedance and resonance control including the measurement solenoid coil equipped with the shielding device; 201 – a measurement cylinder of module |

14	15

| V. V. Korobov | Active control of the water, water solution and process liquid quality |
| --- | --- |
| Greater stabilizing effect on the hydrodynamics of the system is exerted by the decision to use funnel-shaped globoid conical lines at the inlet and outlet of liquid to and from the control area that due to special geometry allowed stabilizing the turbulence level in the control area and action of the impedance and resonance electromagnetic mechanism of complex changes. The model shows that the liquid flow inlet line to the control area is located higher than the liquid flow outlet line from the control area and the controlled volume that means that the liquid is drawn from the control area almost under a head created with the higher position of the inlet line. Besides, the minimal diameter of the funnel-shaped flows at the inlet to the measurement cylinder of module and at the outlet from the measurement cylinder of module is equal to the internal diameter of the measurement cylinder of module. The model also shows that the total length of the funnel-shaped globoid flow at the inlet to the measurement cylinder of module and at the outlet from the measurement cylinder of module are virtually more than twice bigger than the length of the measurement cylinder of module. Fig. 13. 3D-model (axial section view) of the measured liquid flow including the measurement cylinder of module with the inlet and outlet systems of the measurement module where: 106 – a combined structure of the sensor module for impedance and resonance control including the measurement solenoid coil equipped with the shielding device; 107 – a funnel-shaped globoid flow at the inlet to the measurement cylinder of module; 108 – a funnel-shaped globoid flow at the outlet from the measurement cylinder of module; 201 – a measurement cylinder of module | Path of the liquid motion in the measurement cylinder including a funnel-shaped globoid flow at the inlet to the measurement cylinder of module and a funnel-shaped globoid flow at the outlet from the measurement cylinder of module is showed with arrows in Fig. 13. All the flow components showed provide for prevention of the hydrodynamic fluctuations in the measurement cylinder that, in its turn, guarantees optimal accuracy of the measurements. Fig. 14. Complete 3D-model of the measured liquid flow including the measurement cylinder of module with the inlet and outlet systems of the measurement module where: 101 – an inlet cylinder; 102 – an outlet cylinder; 106 – a combined structure of the sensor module for impedance and resonance control including the measurement solenoid coil equipped with the shielding device; 107 – a funnel-shaped globoid flow at the inlet to the measurement cylinder of module; 108 – a funnel-shaped globoid flow at the outlet from the measurement cylinder of module The Figure and section views show that the main task for designing the body structure of the combined module is provision of maximal level of the hydrodynamic stability. |

16	17

| V. V. Korobov | Active control of the water, water solution and process liquid quality |
| --- | --- |
| Fig.15. Axial section view of the sensor module where: 101 – an inlet pipeline; 102 – an outlet pipeline; 103 – a delivery line created when assembling components into a module; 105 – sensor structure assembled on the printed-circuit boards (PCBs); 107 – a funnel-shaped line at the inlet to measurement area; 108 – a funnel-shaped line at the outlet of measurement area; 201 – measurement area of the sensor module; 1201 – a flanged panel on the side of liquid outlet from the measurement area; 1202 – a molding plate on the side of controlled flow inlet to the measurement area; 1204 – a flanged panel on the side of controlled liquid flow inlet to the measurement area; 1401 – liquid flow at the inlet to the measurement area; 1402 – liquid flow at the outlet to the measurement area; 1403 – liquid flow at the inlet to a communicating vessel; 1404 – liquid flow at the outlet from the communicating vessel; 1405 – liquid flow at the inlet to the lower measurement branch of the communicating vessel; 1406 – liquid flow at the outlet from the lower measurement branch of the communicating vessel Fig. 16 shows the main principles for assembling the combined device of flat panels and printed circuit boards made according to RITM technology where: 101 is a pipeline for liquid inlet to the control area; 102 is a pipeline for liquid outlet from the control area; 105 is a package of RITM PCBs forming the impedance and resonance control module; 1201 is a base board at the system outlet; 1201 is an adapter board at the system outlet; 1203 is an adapter board at the system inlet; 1204 is a base board at the system inlet. | Fig. 16. 3D-model of a combined body system for the combined control unit including a liquid flow meter and a sensor module for impedance and resonance control Fig.17. Axial section view of the sensor module where: 101 – an inlet pipeline; 102 – an outlet pipeline; 103 – a delivery line created when assembling components into a module; 105 – sensor structure assembled on the printed-circuit boards (PCBs); 107 – a funnel-shaped line at the inlet to measurement area; 108 – a funnel-shaped line at the outlet of measurement area; 201 – measurement area of the sensor module; 1201 – a flanged panel on the side of liquid outlet from the measurement area; 1202 – a molding plate on the side of controlled flow inlet to the measurement area; 1204 – a flanged panel on the side of controlled liquid flow inlet to the measurement area; 1401 – liquid flow at the inlet to the measurement area; 1402 – liquid flow at the outlet to the measurement area; 1403 – liquid flow at the inlet to a communicating vessel; 1404 – liquid flow at the outlet from the communicating vessel; 1405 – liquid flow at the inlet to the lower measurement branch of the communicating vessel; 1406 – liquid flow at the outlet from the lower measurement branch of the communicating vessel |

18	19

| V. V. Korobov | Active control of the water, water solution and process liquid quality |
| --- | --- |
| Fig.18. Transparent model of the basic hydrodynamic system of the combined multifunctional liquid flow meter with specification of the communicating vessel system elements in the area of physical principle and impedance and resonance control method action where: 103 – a vertical delivery line of the communicating vessel system including the inlet and outlet vertical lines, horizontal globoid coaxial inlet and outlet from the impedance and resonance phenomenon action area; 104 – a vertical discharge line of the communicating vessel system including the inlet and outlet vertical lines, horizontal globoid coaxial inlet and outlet from the impedance and resonance phenomenon action area; 105 – a structure unit consisting of PCB package composing the sensor module of impedance and resonance control; 106 – a unit consisting of the printed component package of the sensor solenoid coil and a shielded topological structure forming as a package the shielding system preventing electronic noise; 107 – a horizontal globoid coaxial inlet line of the sensor module of impedance and resonance control; 108 – a horizontal globoid coaxial outlet line of the sensor module of impedance and resonance control; 201 – a shielding system of the sensor module With all the crucial nature of getting a clear answer to the question about practicability of achieving a possibility to execute the complete cycle of online non-contact control of various parameters and concentrations of liquids, all the specialists tend to conclude that the most complete answer to this question can be served by an example of controlling the quality and many other parameters of cow’s milk. Having conceptually agreed with this argument, the author thinks that there is a clearly understandable necessity to analyze the most actual options of checks and control operations with formulation of the most particular tasks and parameters for such control in the beginning of this complex process. | Device for control of the actual state of cow’s milk in real-time mode The device is designated for control and evaluation of the actual value of complex numerical value of the dynamic quality state of cow’s milk in the real-time mode. The complex numerical value of the dynamic state of cow’s milk is an integral parameter that according to criteria of frequency, amplitude, resistance, inductance and a complex of dynamic characteristics of the milk flow is an integral equivalent to the actual value of composition and component concentrations in the cow’s milk and connections including biological ones among the specified components. The device for selective identification of complex digital value of dynamic state of the cow’s milk in real-time mode is a compact module designated for operation under the conditions of a milk farm or in the field environment with power supply by means of the solar cell battery use. The device has a minimal electrical power consumption rating. The device includes functionally connected systems for inlet, outlet, control and transformation of the milk flow with the system for milk flow transformation including the aerodynamic mechanism for extraction of gases from the milk flow. The device can be designed for the use in the steady-state conditions and for carrying out the express tests. The abovementioned complex integral numerical values of dynamic and electrochemical state of the cow’s milk and presence of mastitis as well as the device for its measurement in the real-time mode as a patent application under the title “Device, program, system and associated method for its use” have been recognized as completely patentable and can be protected with a combinatory and integrative patent application based on the deep patent search. The device for non-contact control of the cow’s milk state parameters The device includes the systems for milk inlet to the control area, milk outlet from the control area, an interfaced sensor electronic integral control module. The device can include the system for identification of signals and a unit for rapid comparison of the identified signals with the control one. |

20	21

| V. V. Korobov | Active control of the water, water solution and process liquid quality |
| --- | --- |
| The device for simultaneous control of several parameters of the cow’s milk state during its transportation The device provides for two designs: - the first design is designated to be mounted in the tank vehicles for milk quality control when transported and when transferring the milk for processing to produce dairy products; - the second design is designated to be mounted at flexible or rigid pipelines, through which the milk is delivered to the storage reservoirs, this design can be additionally equipped with the real-time temperature measurement functions. The device for express testing of the cow’s milk quality The device is a mobile compact device with the inner cavity, to which the milk (or any other liquid) is supplied for testing. The sensor selectively set for some definite parameter of the milk or any other liquid is located around the cavity. The device does not require any setting and calibration and has several protection degrees. Non-contact milk level gauge for the storage reservoirs The device monitors the milk (or any other liquid) level in the special section of the pipeline connected with the reservoir, the liquid level of which is controlled. The device can be made in several designs: it can be installed either in the reservoir with liquid or outside the reservoir and it can have sensors of various designs. The specified device, program, system and associated method for its use have been recognized as completely patentable and can be protected with a combinatory and integrative patent application based on the deep patent search. Variations of the non-contact control devices The device for complex control of the milk level in reservoirs with simultaneous evaluation of the integral value of milk quality The device monitors the milk or any other liquid level in the special section of the pipeline connected with the reservoir, the liquid level of which is controlled. The specified pipeline section is both a resonance sensor set to control and evaluate the | integral value of milk or any other liquid quality and a level gauge of the controlled liquid. The device can at the same time control any physical characteristics of milk or liquid including conductivity, density and acidity level. The device for complex control of milk level in the reservoirs with simultaneous evaluation of the somatic cell count The device monitors the milk or any other liquid level in the special section of the pipeline connected with the reservoir, the liquid level of which is controlled. The specified pipeline section is both a resonance sensor set to control the somatic cell count and a level gauge of the controlled liquid. The device can at the same time control any physical characteristics of milk or liquid including conductivity, density and acidity level. The device for complex control of milk level in the reservoirs with simultaneous evaluation of the milk fat content The device monitors the milk or any other liquid level in the special section of the pipeline connected with the reservoir, the liquid level of which is controlled. The specified pipeline section is both a resonance sensor set to control the milk fat concentration and a level gauge of the controlled liquid. The device for complex control of milk level in the reservoirs with simultaneous evaluation of the milk lactose content The device monitors the milk or any other liquid level in the special section of the pipeline connected with the reservoir, the liquid level of which is controlled. Similar to the previous variations the specified pipeline section is both a resonance sensor set to control the lactose concentration and a level gauge of the controlled liquid. The device for complex control of milk level in the reservoirs with simultaneous evaluation of the trace blood in milk The device monitors the milk or any other liquid level in the special section of the pipeline connected with the reservoir, the liquid level of which is controlled. |

22	23

| V. V. Korobov | Active control of the water, water solution and process liquid quality |
| --- | --- |
| The specified pipeline section is both a resonance sensor set to control the blood concentration and a level gauge of the controlled liquid. The device for complex control of milk level in the reservoirs with simultaneous consecutive evaluation of the basic component concentrations in milk The device monitors the milk or any other liquid level in the special section of the pipeline connected with the reservoir, the liquid level of which is controlled. The specified pipeline section is both a resonance sensor set to control the target parameters and a level gauge of the controlled liquid. The device for complex control of milk level in the reservoirs with simultaneous evaluation of the several basic component concentrations in milk The device monitors the milk or any other liquid level in the special section of the pipeline connected with the reservoir, the liquid level of which is controlled. The specified pipeline section is a resonance sensor set to control the parameters and component concentrations in milk or any other liquid with several sensors set to control each of the parameters and each sensor is at the same time a level gauge of the controlled liquid. The device for change of milk flow turbulence level The device is designated to change and dynamically transform the milk turbulent flow with formation of a local laminar flow area where the milk is controlled with a resonance sensor. Besides, when transforming the flow the device discharges air from the milk flow and stabilizes its hydrodynamic characteristics. The specified device, program, system and associated method for its use have been recognized as completely patentable and can be protected with a combinatory and integrative patent application based on the deep patent search. The device for preparation of the milk flow to control the state parameters in real-time mode The device is designated to change and dynamically transform the milk turbulent flow with formation of a local laminar flow area | where the milk is controlled with a resonance sensor. The device for control of the milk gas content level in real-time mode The device is a resonance sensor registering the change of the milk parameter complex depending on its concentrations of air or any other gas. The device can simultaneously control the level pipeline through which the milk flow passes is filled and the level of turbulence of the milk flow in the pipeline. The system to control milk aeration process with monitoring of milk air content in real-time mode The system to control milk aeration process with monitoring of milk air content; the system is feed-backed to the resonance sensor and changes the compressed air parameters depending on the milk air concentrations. The system includes a resonance sensor, interface and converter of the signals sent by the sensor into control signals to the compressed air source, with the help of which the compressed air pressure and flow rate change. The system also includes the aerodynamic function of air supplying to the milk. All the specified variations of the device, program, system and associated method for its use have been recognized as completely patentable and can be protected with a combinatory and integrative patent application based on the deep patent search thus proving the relevance of the author’s study. The resonance sensor use as a method to control the dairy farm herd state as of latent mastitis and mastitis with obvious signs The principal parameter defining the presence of mastitis by the cows is somatic cell count of the milk. For the latent mastitis cases that develop oftener the somatic cell count control is, as a rule, not enough and it is necessary to control the range of parameters defining, besides the increased somatic cell count, the situation when the so-called latent mastitis occurs and develops. |

24	25

| V. V. Korobov | Active control of the water, water solution and process liquid quality |
| --- | --- |
| In this situation: - milk viscosity decreases; - chloride-lactose ratio increases; - electric conductivity increases; - pH increases to 6.83 – 7.19; - milk density decreases to 1.024 – 1.025 (with the normal value of 1.027); - milk fat content decreases. To evaluate the possibilities of the offered technology control methods with the impedance and resonance spectroscopy use, the developers in cooperation with the practitioners offered the following testing procedure. The milk samples are supplied in three replicates taken during each milking of the same cow including the initial, middle and final milking. The samples differ in their constituting parameters therefore the less concentrated is the milk of initial milking and the most concentrated is the milk of final milking. For the first set of experiments the following was offered (the analytical report is prepared in cooperation with the leading laboratories based on the results obtained): - Three milk samples are compared on overall performance; - Sugar is added to the samples; - Glucose is added to the samples; - Electrical conductivity is controlled; - pH is controlled; - Fat content is controlled; - Viscosity is controlled; - Density is controlled; - Carbamide (urea) is added; - Blood is added; - Three samples are set aside at room temperature for 1 day, 3 days and 5 days and after that tests 1-10 are repeated. The abovementioned experiments can be conducted prior to obtaining the special laboratory instruments for control checks. The parameters that can be checked using the invented impedance and resonance technology and recommended to be checked by the experts in the dairy production are given in the Table below: | Parameter; Values in case of mastitis. Somatic cell count (SCC); 50,000 – 3,000,000 ml. Lactate dehydrogenase level (LDH); 0 – 350 U/l. Activity of lysosomal N-acetyl-β-d-glucosaminidase (NAGase); Yes. Blood; >0.05%. Fat; 0-10%. Protein; 0-10%. Lactose; 0-10%. Progesterone; 0-20 ng/ml. Beta-hydroxybutyrate (BHB); 0-0.7 mmol. Urea; 100-500 mg/l. Preliminary studies of the resonance control technology sensitivity with milk as the controlled liquid At the preliminary stage of control and evaluation of the resonance control technology sensitivity the milk samples of several essentially different types were studied: - natural whole milk samples taken during the morning hand milking divided into three main groups: - those taken at the milking start (the less concentrated samples with acidity of 6.7 units); - those taken during the main milking stage, samples of average concentration with an average optimal level of the constituting component concentration and acidity of 6.8 units; - those taken at the final milking stage with the maximum concentration of main components and acidity of 6.9 units. - samples of the same milk after 24 hours of keeping at the room temperature; - samples of the same milk after 24 hours of keeping in the refrigerator at temperature of +3 degrees Celsius; - samples of 4 milk types with the different characteristics obtained in the retail trade network; - samples of all milk types with preserved blood added; |

26	27

| V. V. Korobov | Active control of the water, water solution and process liquid quality |
| --- | --- |
| - samples of all milk types with sucrose added; - samples of all milk types with glucose added; - samples of all milk types with sugar added; - samples of all milk types with milk fat added and mechanically mixed. General characteristic of the measurements, experiments and studies specified is as follows: - Acidity level of all the milk samples prepared was measured with the use of standard measuring instruments and the same measurement was conducted using the experimental resonance control unit; - Somatic cell count of all the milk samples was measured with the use of standard measuring instrument produced by DELAVAL Company (Sweden) and the same measurement of integral signal of the same milk samples was conducted using the experimental resonance control unit; - A specified amount of blood was added and mixed with a milk sample and then the received integral signal was measured using the experimental resonance control unit; - A specified amount of milk fat was added and mixed with a milk sample and then the received integral signal was measured using the experimental resonance control unit; - A specified amount of urea was added and mixed with a milk sample and then the received integral signal was measured using the experimental resonance control unit; - A specified amount of glucose was added and mixed with a milk sample and then the received integral signal was measured using the experimental resonance control unit; - A specified amount of sucrose was added and mixed with a milk sample and then the received integral signal was measured using the experimental resonance control unit; - A specified amount of fructose was added and mixed with a milk sample and then the received integral signal was measured using the experimental resonance control unit. Each test was conducted in comparison with the water value using the same additions. | As it is mentioned above, compared to the water and water solutions the most challenging when controlling the milk is to carry out its online quality control, therefore the conclusions on the preliminary analysis and experimental check results were drawn based on the experimental check of the units and control methods using milk. Milk samples obtained from the commercial dairy farms where no chemical reagents are used during the whole process and cow fodder is grown naturally without any fertilizer or other biologically active substance use were selected as the milk samples for control. The main conclusions drawn in the analysis course are as follows: - Resonance control technology is able with the required accuracy to differentiate the whole milk samples following the integral complex value at the initial, middle and final milking stages; - Resonance control technology is able with the required accuracy to differentiate the whole milk samples following the integral complex value at the initial, middle and final milking stages and the samples with various storage time at room temperature; - Resonance control technology is able with the required accuracy to differentiate the whole milk samples following the integral complex value at the initial, middle and final milking stages and the same samples with various storage time at room temperature and the samples to which specified amounts of blood, glucose, urea, milk fat were added; - Resonance control technology is able with the required accuracy to differentiate the whole milk samples following the integral complex value at the initial, middle and final milking stages with various somatic cell count and the same samples with various storage time at room temperature; - Resonance control technology is able with the required accuracy to differentiate the whole milk samples following the integral complex value at the initial, middle and final milking stages with various somatic cell count and the same samples with various storage time at room temperature and at the same time it is able to evaluate and differentiate acidity levels of the same milk samples; |

28	29

| V. V. Korobov | Active control of the water, water solution and process liquid quality |
| --- | --- |
| - The experiments proved correctness of the method selected for preliminary test of the strategy consisting of at least two-stage system for resonance sensor calibration – at the first stage on the integral signal level based on the impedance phenomenon characteristics in milk and at the second stage on selectively marked combination of the most contrastively developed complex frequency and capacitance and amplitude characteristics in the milk samples studied characteristic to each of the parameters and characteristics controlled; - The system in general showed high sensitivity to the signal sent, high selectivity when classifying and comparing the signals, sufficient level of the result reproducibility, stable operation within the method used, sufficient accuracy in definition of the integral signal components, sufficient independence and sustainability to external impacts and interference, ability to be stable, sustainable and reliable when controlled by the operator without a necessity of formal special and professional training; - The preliminary study results afford the ground to conclude a possibility to go to application of the selective control of all the necessary milk parameters and to the fundamental design of all the necessary applications of resonance sensors at the next project stage; - The results of setting and changing the sensor operating parameters, the general nature of the control process and digital testing of the sensor and its whole infrastructure allow concluding a possibility of reliable guaranteed remote control of the sensor and sensor group operation with synchronization of their main measurement and analytical functions and possibility to adapt the sensors in accordance with the specificity and various conditions of the commercial dairy farms and dairy production enterprises. Control of acidity and alkalinity level of water and water solutions The range for control of acidity in water and water solutions using non-contact resonance control methods is not limited. The control accuracy can be adjusted as necessary but it shall be not lower than 0.1 of acidity control unit established in accordance with the standard. The control accuracy does not depend on concentrations of organic matter in water or water solution and also does not depend on the level of water or water solution aggressiveness as all the control operations are executed remotely not contacting the controlled liquid. | Control and complex analysis of the required nutrient concentrations in water solutions used for watering In case the substances added to a nutrient solution are known in advance, the integral sensor shall include a number of selective sensors corresponding to the number of the components in solution. Each of these sensors is adjusted to one component. The measurement accuracy is within 0.5 milligram per liter. Control of water solution conductivity The conductivity control is similar to the acidity level control. The measurement accuracy is within 1 microsiemens. Complex combined control of the liquid and water solution quality is provided. Two methods are offered for complex control: - the first control method provides for the use of just one sensor indicating the complex parameter of water or liquid quality; - the second method provides for installation of such number of sensors corresponding to the number of parameters or materials controlled and each of them controls the state of just one material or its concentration. Control of heavy metal concentrations in liquids and water solutions The control can be carried out in general and in this case the sensor indicates all the metals present in water or water solution. The control can be carried out selectively and in this case the integral sensor module shall include the sensors set to separately control concentration of each metal. The sensor module can include the sensors for complex control of the water or water solution state and quality including simultaneous control of all the qualitative parameters of water or water solution. Control of organic matter level or concentrations in water solutions Control of organic matter concentrations can be general, for instance when measuring total concentration of all the organic matter and compounds in water or water solution. |

30	31

| V. V. Korobov | Active control of the water, water solution and process liquid quality |
| --- | --- |
| Control of the organic matter concentrations can be selective and in this case the integral sensor module can include selective sensors set to control each organic component. The method for control of biological compounds in water or water solution allow excluding the possibility of result distortion owing to complete absence of contact during measurement. Control for temperature and dielectric permeability of water or water solutions The water solution temperature control is similar to the conductivity control. The dielectric permeability control is similar to control of organic matter level or concentrations in water or water solutions. All the control options are carried out selectively with the use of selected sensors or a group of sensors installed at the external diameter of pipeline or supplied with the pipeline section integrated into the existing pipeline. Development of the software allowing identification of the sensor signals for interpretation of the controlled parameter concentration in water or water solutions is planned in the course of project execution. Development of a range of sensor sizes for installation at the pipes within a diameter range from 10 to 120 millimeters is planned in the course of project execution. Optimization of the sensor production technology that will allow setting an acceptable range of prices for the systems of complex control of water and water solution quality for agricultural use is planned in the course of project execution. Application of the device for non-contact control of drinking water compliance with the standard requirements. Proposal of the control device integration variants into a standard water flow meters The device is made in two main designs: the first design provides for installation directly in the pipeline before the tap valve within the domestic premises; the second design is a portable device designated for water sampling from the tap valve and directing it to the pipeline section where the sensor is installed. These both designs of the product are laconic and made of plastic that is, as a rule, polyvinylchloride, compact and easy to use. | The operating principles of the both device designs are based on comparison of the control signals of resonance sensor with the signal received during the sample measurement. The control signal is received using the water completely complying with the standard requirements and the sensor registers even the slightest deviations from the control signal. The sensitivity threshold is 0.000000005 gram for metals, 0.000000000001 gram for radioactive isotopes, 0.000001 gram for hardness and silicate salts and 0.0000001 gram for organic acids and compounds excluding phenols and traces of surface-active substances, detergents and mineral fertilizers. All the specified concentrations are given per one liter of water. The device does not differentiate and selectively register each component of contaminants or impurities but owing to its sensitivity it detects 50% threshold of the drinking water contaminants hazardous to health. Such high accuracy of the household appliance allows constantly control the quality of water for domestic use and to take the appropriate prevention measures even prior to reaching the hazardous level of contamination. The health standards of the most developed countries recommend constant monitoring of the water quality and fulfillment of this requirement faces the situation when there is no secure, simple to use and precise device at the market with the price allowing its mass acquisition and use. The proposed device designs completely comply with the standard requirements both concerning the safety of materials used and the efficiency of application. The both designs of this device are technologically simple in manufacture and do not require the use of special technologies during production and can be manufactured virtually within the small-scale production facilities with an optimal price level. This provides for regional pattern use when manufacturing the device that means that the assembly can be made in the place of sale thus decreasing the transportation expenses and allowing their just-in-time sale thus eliminating the expenses for maintenance of the storehouses. It is possible to use the technology for control of acidity and alkalinity within the frameworks of water control for compliance with the standards of domestic use. The device use provides for constant monitoring of water in the domestic water supply systems, central air conditioning systems, etc. (thus allow to talk about a wide range of possible application of the proposed equipment type). |

32	33

| V. V. Korobov | Active control of the water, water solution and process liquid quality |
| --- | --- |
| BIBLIOGRAPHY AND LIST OF PATENT APPLICATIONS - US patent application No. 20120029845, 02.02.2012, Apparatus and method for fluid monitoring / Gennadiy Flider, Gabriel Livschits. - US patent application No. 20130173180, 04.07.2013, Determination of attributes of liquid substances / Uzi Birk, David Livschits, Rotem Rabinovich. - US patent application No. 20130178721, 11.07.2015, Vivo determination of acidity levels / Uzi Berk, David Livschits. - US patent No. US8820144, 02.09.2014. Apparatus and method for fluid monitoring / Gennadiy Flider, Gabriel Livschits. - US patent No. US8694091, 08.04.2014. Vivo determination of acidity levels / Uzi Berk, David Livschits. - US patent No. US9316605, 19.04.2016. Determination of attributes of liquid substances / Uzi Birk, David Livschits, Rotem Rabinovich. - US patent No. US9194787, 24.11.2015. Testing apparatus for simulating stratified or dispersed flow / Chong Li, Joseph Stolle, Roy Livingston, Bryan Oettle. - US patent No. US8963565, 24.02.2015. Sensor for detecting liquid spilling / Helge Pfeiffer, Martine Wevers. - US patent No. US9188270, 17.11.2015. Monitoring and analysis method of the conditions of a pipeline / Alberto Giulio Di Lullo, Alessia Poggio, Eliana De Marchi. | Annex 1 United States Patent Application; 20120029845. Kind Code; A1. February 2, 2012. APPARATUS AND METHOD FOR FLUID MONITORING Abstract According to some embodiments, an apparatus and method are provided for detecting the composition of a fluid. An alternating electromagnetic field may be applied to the fluid and distortions in the electromagnetic field are compared with predetermined, expected distortion "signatures" for particular components at particular concentrations. The presence and concentration of the components in the fluid may be detected by detecting these distortion signatures. |

34	35

| V. V. Korobov | Active control of the water, water solution and process liquid quality |
| --- | --- |
| Annex 2 | Annex 3 |

| United States Patent Application | 20130173180 |
| --- | --- |
| Kind Code | A1 |
|  | July 4, 2013 |

| United States Patent Application | 20130178721 |
| --- | --- |
| Kind Code | A1 |
|  | July 11, 2013 |

DETERMINATION OF ATTRIBUTES OF LIQUID SUBSTANCES Abstract A monitoring unit (100) that determines parameters (p1, p2) of an attribute (P) of a liquid substance flowing (F) through a dielectric conduit (110) includes plural coil members (121, 122) encircling the dielectric conduit (110) that subjects a flow of the liquid substance to plural different electromagnetic fields (B(f)), and under influence thereof measuring circuitry registers corresponding impedance measures (z(f)) of the liquid substance. A processor (130) derives the parameters (p1, p2) of the attribute (P) based on the registered impedance measures (z(f)).

VIVO DETERMINATION OF ACIDITY LEVELS Abstract A bolus for use in a ruminant animal's reticulum includes a cavity (100) configured to receive ruminal fluids present in the stomach. The cavity has walls (110) of a dielectric material and is encircled by a coil member (120), which is configured to subject the ruminal fluids to an electro-magnetic field. A Sensor element (310) measures the electromagnetic field's influence on the ruminal fluids and thus register an electromagnetic property representative of an acidity level of said fluids. A transmitter (410) transmits a wireless output signal (SD) reflecting the acidity measure.

36	37

| V. V. Korobov | Active control of the water, water solution and process liquid quality |
| --- | --- |
| Annex 4 | Annex 5 |

| United States Patent | 8,694,091 |
| --- | --- |
|  | April 8, 2014 |

| United States Patent | 8,820,144 |
| --- | --- |
|  | September 2, 2014 |

In vivo determination of acidity levels Abstract A bolus for use in a ruminant animal's reticulum includes a cavity (100) configured to receive ruminal fluids present in the stomach. The cavity has walls (110) of a dielectric material and is encircled by a coil member (120), which is configured to subject the ruminal fluids to an electro-magnetic field. A Sensor element (310) measures the electromagnetic field's influence on the ruminal fluids and thus register an electromagnetic property representative of an acidity level of said fluids. A transmitter (410) transmits a wireless output signal (SD) reflecting the acidity measure.

Apparatus and method for fluid monitoring Abstract According to some embodiments, an apparatus and method are provided for detecting the composition of a fluid. An alternating electromagnetic field may be applied to the fluid and distortions in the electromagnetic field are compared with predetermined, expected distortion "signatures" for particular components at particular concentrations. The presence and concentration of the components in the fluid may be detected by detecting these distortion signatures.

38	39

| V. V. Korobov | Active control of the water, water solution and process liquid quality |
| --- | --- |
| Annex 6 | Annex 7 |

| United States Patent | 9,316,605 |
| --- | --- |
|  | April 19, 2016 |

| United States Patent | 9,194,787 |
| --- | --- |
|  | November 24, 2015 |

Testing apparatus for simulating stratified or dispersed flow Abstract A system and method for simulating stratified or dispersed flow dynamics are disclosed herein. The method includes filling an apparatus with a multi-phase mixture that includes an upper phase and a lower phase, wherein the upper phase and the lower phase are immiscible liquids. The method also includes establishing contact between a bottom surface of a rotor drum and a top surface of the upper phase. The method also includes rotating the rotor drum such that the rotation of the rotor drum causes the upper phase to rotate and ultimately causes the lower phrase to also rotate. The method further includes monitoring a parameter of the multi-phase system while the rotor drum is rotating.

Determination of attributes of liquid substances Abstract A monitoring unit (100) that determines parameters (p1, p2) of an attribute (P) of a liquid substance flowing (F) through a dielectric conduit (110) includes plural coil members (121, 122) encircling the dielectric conduit (110) that subjects a flow of the liquid substance to plural different electromagnetic fields (B(f)), and under influence thereof measuring circuitry registers corresponding impedance measures (z(f)) of the liquid substance. A processor (130) derives the parameters (p1, p2) of the attribute (P) based on the registered impedance measures (z(f)).

40	41

| V. V. Korobov | Active control of the water, water solution and process liquid quality |
| --- | --- |
| Annex 8 | Annex 9 |

| United States Patent | 9,188,270 |
| --- | --- |
|  | November 17, 2015 |

| United States Patent | 8,963,565 |
| --- | --- |
|  | February 24, 2015 |

Sensor for detecting liquid spilling Abstract Present invention concerns generally to a sensor or a sensor system for detecting spilling of aqueous liquids, for instance in confined spaces were such is critical such in an airplane. The system of present invention is an early warning system or sentinel for the prevention of corrosion by corrosive liquids. Corrosion caused by corrosive liquids can rapidly change the surface properties of components in engineering structures, and that will finally endanger the functionality of structural parts. However, if monitoring technologies are in place providing continuous information on the presence of corrosive liquids, corrosion treatment and even corrosion prevention can start at a very early stage. Present invention provides such by early detection of corrosive liquids by extended sensors based on the collapse of percolation conductivity (COPC). The term collapse refers to the fact that the transition into the non-conducting state must not necessarily have the properties of a thermodynamically well-defined transition.

Monitoring and analysis method of the conditions of a pipeline Abstract Monitoring and analysis method of the conditions of a pipeline, comprising: providing an inspection device (1) in expanded polymeric or elastomeric material comprising at least one measurement instrument (2, 3), said measurement instrument including at least one casing and at least one sensor; introducing said inspection device into the pipeline (5); recovering said inspection device; wherein said casing is made of polymeric or elastomeric material, having a density, measured according to the regulation ASTM D3574, higher than or equal to 30 kg/m3, preferably ranging from 700 to 2,000 kg/m3. Said method allows the continuous registration and storage of useful parameters for revealing defects and/or anomalies inside the pipeline (5) that transports gas and/or liquids, as well as possible variations in the internal diameter of the same.

42	43

| Scientific publication Valentin Viktorovich Korobov ACTIVE CONTROL OF THE WATER, WATER SOLUTION AND PROCESS LIQUID QUALITY IN THE INDUSTRY AND AGRICULTURE USING THE TECHNOLOGY OF NON-CONTACT IMPEDANCE AND RESONANCE CONTROL METHODS Monograph Technical Editor G. A. Kulakova Signed to print on 23.08.2018 Circulation of 500 copies. Offset paper. NewtonC font Format 60×84 1/16 Stencil screen printing. Quire 2.75. Circulation of 500 copies. Order No. 030-18. Printed in the printing house of the Publishing House “Academy of Natural Sciences”, 440026, Penza. Lermontov Str., 3 |  |
| --- | --- |